## Xianke
Attention: It is common for some tubes to break during freight. We do not provide replacements for tubes broken in a shipment unless the losses are catastrophic. It is the responsbility of the distributor to buy spare tubes accordingly to make up for any broken. We recommend to buy a couple of boxes of 10 spare tubes on your first order and then buy them as needed from then on.
Type | Size | DESCRIPTION | Price
14mm Heat Pipe Collector | 15 tubes | Solar collector with manfiold, 14mm heat pipes, aluminum fins, Clamshell tube holders, 1 tube of thermal paste with manifold | 272.0084
| 20 tubes |  | 358.1063
| 25 tubes |  | 446.3724
| 30 tubes |  | 534.6343
24mm Heat Pipe Super Collector | 15 tubes | Solar collector with manfiold, 24mm heat pipes, aluminum fins, Clamshell tube holders, 1 tube of thermal paste with manifold | 286.0702
| 20 tubes |  | 372.1681
| 25 tubes |  | 464.654
| 30 tubes |  | 555.7333
Spare tubes | 5 | packed per box | 20.575
| 6 |  | 25.7547
| 8 |  | 32.7264
| 10 |  | 40.622
Flat Roof Frame | 15 tubes | 37° Angle, washers and lock washers with bolts, reflector compatible | 44.8945
| 20 tubes |  | 58.9605
| 25 tubes |  | 73.0265
| 30 tubes |  | 87.0925
| 15 tubes | 45° Angle, washers and lock washers with bolts, reflector compatible | 44.8945
| 20 tubes |  | 58.9605
| 25 tubes |  | 73.0265
| 30 tubes |  | 87.0925
Slope Roof Frame | 15 tubes | washers and lock washers, reflector compatible | 65.9935
| 20 tubes |  | 82.8727
| 25 tubes |  | 98.3453
| 30 tubes |  | 115.2245
SR961s | 1 |  | 387
Expansion Tank | 8L |  | 22.2
| 12L |  | 23.84
| 19L |  | 27.81
| 24L |  | 31.88
| 36L |  | 46.9
| 50L |  | 70.55
Reflector | 15 tubes | qty 1 = for 1 collector = 2 pieces | 20.4503
| 20 tubes |  | 27.5036
| 25 tubes |  | 34.2022
| 30 tubes |  | 40.9007
Passive Solar Water Heater | 15 tubes | Integrated and Pressure System, Include TK-7Y solar controller and heating element | 521.3982
| 18 tubes |  | 665.4139
| 20 tubes |  | 735.9227
| 24 tubes |  | 839.9568
| 30 tubes |  | 1037.8834
Split Tank, SS304, Single Coil | 100L | Split Tank, T/P Valve, Thermostat, Magnesium Rod, 3/4" NPT water ports, 1/2" Copper Coils | 381.1422
| 150L |  | 454.2311
| 200L |  | 529.0762
| 300L |  | 680.997
| 400L | Split Tank, T/P Valve, Thermostat, Magnesium Rod, 1" NPT water ports, 1/2" Copper Coils | 887.4797
| 500L |  | 968.6586
| 600L |  | 1165.9401
| 700L |  | 1396.9801
| 800L | Split Tank, T/P Valve, Thermostat, dual Magnesium Rods, dual heating elements, 1-1/2" NPT water ports, 3/4" Copper Coils | 2299.8702
| 1000L |  | 2571.8261
Split Tank, SS304, Dual Coil | 150L | Split Tank, T/P Valve, Thermostat, Magnesium Rod, 3/4" NPT water ports, 1/2" Copper Coils | 510.4951
| 200L |  | 620.5052
| 300L |  | 741.4808
| 400L | Split Tank, T/P Valve, Thermostat, Magnesium Rod, 1" NPT water ports, 1/2" Copper Coils | 977.5021
| 500L |  | 1083.9997
| 600L |  | 1282.6879
| 700L |  | 1513.7279
| 800L | Split Tank, T/P Valve, Thermostat, dual Magnesium Rods, dual heating elements, 1-1/2" NPT water ports, 3/4" Copper Coils | 2464.4423
| 1000L |  | 2737.8048
Pool collector | 30 Tubes | non-pressure solar collector , SS316L inside, galvanized outside, aluminum frame, 1" NPT header | 336.5429
Pool collector manifold |  | non-pressure solar collector manifold , SS316L inside, galvanized outside, 1" NPT header | 148.7998
Thermal Paste |  | 1 Tube of thermal compound | 1.162
| 23cm | Magnesium Rod, NPT, SS Head | 4.6418
| 33cm |  | 5.7671
| 23cm | Aluminum rod with 10% zinc, NPT, SS Head | 5.0638
| 33cm |  | 6.3297
Thermowell, NPT threads | 12.5cm | Stainless Steel | 3.3836
| 20cm |  | 4.2275
| 30cm |  | 5.0715
| 12.5cm | Copper | 3.3836
| 20cm |  | 4.2275
| 30cm |  | 5.0715
| SR961s 110v | Working Station | 363.606
| SR961s 220v |  | 307.342
| SR962s 110v |  | 408.1952
| SR962s 220v |  | 351.9312
| SR882 110v |  | 427.6063
| SR882 220v |  | 371.3423
| TK-7Y | Passive Solar Water Heater Controller | 26.4441
Air Vent | 1/2" |  | 9.8462
3/4"
Submersible Pump |  | QDX1.5-17-0.37 | 50
Thermostatic Mixing Valve | 3/4" |  | 50
| 1" |  | 58
Propylene Glycol, Inhibited | 1 gal |  | 21.46
| 5 gal |  | 99
| 15 gal |  | 275
Corrugated Stainless Steel Tubing, 1 Roll | 1/2" |  | 125
| 3/4" |  | 215
| 1" |  | 110
Corrugated Stainless Steel Tubing Fittings | 1/2" |  | 1.11
| 3/4" |  | 1.7
| 1" |  | 3.5
Economy CSST Flaring Tool | 1/2" |  | 24.95
| 3/4" |  | 29.99
| 1" |  | 34.99
Professional CSST Flaring Tool | 1/2" + 3/4" |  | 89.99
| 1" + 1-1/4" |  | 89.99
Nitrile Insulation | 1/2" | 13mm | 2.39
| 5/8" |  | 2.6
| 3/4" |  | 3
| 7/8" |  | 3.4
| 1" |  | 3.4
| 1-1/8" |  | 3.8
| 1-1/4" |  | 4.2
| 1-1/2" |  | 5
| 1/2" | 19mm | 3.8
| 5/8" |  | 4.2
| 3/4" |  | 4.4
| 7/8" |  | 4.4
| 1" |  | 4.79
| 1-1/8" |  | 5.2
| 1-1/4" |  | 6
| 1-1/2" |  | 6.8
Aluminum Pipe Wrap |  | ~20-25m | 2.5
EPDM Insulated Tubing, 1 Roll Single |  |  | 294
333
371
EPDM Insulated Tubing, 1 Roll Twin |  |  | 588
661
738